## htw-failures-2017
Turbine_ID | Component | Timestamp | Remarks
T01 | TRANSFORMER | 2017-08-11T13:14:00+00:00 | Transformer fan damaged
T06 | GEARBOX | 2017-10-17T08:38:00+00:00 | Gearbox bearings damaged
T06 | HYDRAULIC_GROUP | 2017-08-19T09:47:00+00:00 | Oil leakage in Hub
T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
T07 | HYDRAULIC_GROUP | 2017-10-19T10:11:00+00:00 | Oil leakage in Hub
T09 | GEARBOX | 2017-10-18T08:32:00+00:00 | Gearbox noise
T09 | GENERATOR_BEARING | 2017-01-25T12:55:00+00:00 | Generator bearings replaced
T09 | HYDRAULIC_GROUP | 2017-09-16T15:46:00+00:00 | Pitch position error related GH
T11 | HYDRAULIC_GROUP | 2017-04-26T18:06:00+00:00 | Hydraulic group error in the brake circuit
T11 | HYDRAULIC_GROUP | 2017-09-12T15:30:00+00:00 | Hydraulic group error in the brake circuit